| EMI EMC TEST REPORT |  |
| --- | --- |
| ELECTRONICS TESTING-EMC TEST FACILITY |  |
| MANUFACTURER |  |
| ADDRESS |  |
| EUT NAME |  |
| EUT MODEL/SKU NUMBER |  |
| EUT SERIAL NUMBER |  |
| CONDITION OF EUT ON RECEIPT |  |
| DATE OF RECEIPT OF EUT | <Click or tap to enter a date.> |
| DATES ON WHICH TESTS WERE PERFORMED | From <Click or tap to enter a date.> to <Click or tap to enter a date.> |
| LOCATION OF PERFORMANCE OF TEST: | <Permanent/Onsite> |
| TEST REPORT ISSUE DATE | <Click or tap to enter a date.> |
| ISSUED TO: NAME AND CONTACT INFORMATION OF CUSTOMER |  |
| ISSUED BY: NAME AND ADDRESS OF TEST LABORATORY | Thermo Fisher Scientific Product Testing Laboratory Warehouse No 1A Plot No 6, Survey No 315 434/1, All Cargo Logistics & Industrial Park, Ramachandrapuram Mandal, Velmula Village, Sangareddy 502300, Telangana, India |

|  | Prepared By | Reviewed By | Authorized Signatory |
| --- | --- | --- | --- |
| Name: |  |  |  |
| Signature: |  |  |  |
| Date: |  |  |  |

TABLE OF CONTENTS

1.	TEST REPORT SUMMARY	9

1.1.	TEST METHOD	9

1.2.	APPLICABLE STANDARDS	10

1.3.	ACCREDITATION DETAILS	11

1.4.	MEASUREMENT UNCERTAINITY	11

2.	EUT INFORMATION	12

2.1.	EUT DETAILS	12

2.2.	DESCRIPTION OF EUT	12

2.3.	SOFTWARE AND FIRMWARE DETAILS	12

2.4.	EUT MODIFICATION RECORD	12

2.5.	EUT CONFIGURATION DURING TEST	12

2.6.	EUT SETUP DETAILS	13

2.7.	EUT MODES OF OPERATION	13

2.8.	EUT MONITORING PARAMETERS	13

2.9.	ACCESSORIES/INTERFACES AND CABLE DETAILS	13

2.10.	EUT AND ACCESSORIES PICTURES	13

3.	IMMUNITY CRITERIA AND DECISION RULE	14

3.1.	PERFORMANCE CRITERIA	14

3.2.	DECISION RULE	14

4.	CONDUCTED EMISSION TEST	15

4.1.	TEST SPECIFICATION	15

4.2.	DEVIATION FROM THE STANDARD	15

4.3.	TEST LIMITS	15

4.4.	TEST PROCEDURE	16

4.5.	MEASUREMENT DATA	16

4.6.	TEST SETUP PICTURES	16

4.7.	TEST EQUIPMENT USED	16

4.8.	SOFTWARE USED	16

4.9.	RESULT	17

5.	RADIATED EMISSION TEST	18

5.1.	TEST SPECIFICATION	18

5.2.	DEVIATION FROM THE STANDARD	18

5.3.	TEST LIMITS	19

5.4.	TEST PROCEDURE	19

5.5.	MEASUREMENT DATA	20

5.6.	TEST SETUP PICTURES	20

5.7.	TEST EQUIPMENT USED	21

5.8.	SOFTWARE USED	21

5.9.	RESULT	21

6.	HARMONIC CURRENT EMISSION TEST	22

6.1.	TEST SPECIFICATION	22

6.2.	DEVIATION FROM THE STANDARD	22

6.3.	TEST LIMITS	22

6.4.	TEST PROCEDURE	23

6.5.	MEASUREMENT DATA	23

6.6.	TEST SETUP PICTURES	24

6.7.	TEST EQUIPMENT USED	24

6.8.	SOFTWARE USED	25

6.9.	RESULT	25

7.	VOLTAGE FLUCTUATION AND FLICKER EMISSION TEST	26

7.1.	TEST SPECIFICATION	26

7.2.	DEVIATION FROM THE STANDARD	26

7.3.	TEST LIMITS	26

7.4.	TEST PROCEDURE	26

7.5.	MEASUREMENT DATA	27

7.6.	TEST SETUP PICTURES	27

7.7.	TEST EQUIPMENT USED	27

7.8.	SOFTWARE USED	27

7.9.	RESULT	27

8.	ELECTROSTATIC DISCHARGE IMMUNITY TEST	28

8.1.	TEST SPECIFICATION	28

8.2.	DEVIATION FROM THE STANDARD	28

8.3.	TEST PROCEDURE	28

8.4.	TEST OBSERVATION	29

8.5.	TEST SETUP PICTURES	30

8.6.	TEST EQUIPMENT USED	30

8.7.	SOFTWARE USED	30

8.8.	RESULT	30

9.	RADIATED SUSCEPTIBILITY TEST	31

9.1.	TEST SPECIFICATION	31

9.2.	DEVIATION FROM THE STANDARD	31

9.3.	TEST PROCEDURE	31

9.4.	TEST OBSERVATION	32

9.5.	TEST SETUP PICTURES	32

9.6.	TEST EQUIPMENT USED	32

9.7.	SOFTWARE USED	33

9.8.	RESULT	33

10.	ELECTRICAL FAST TRANSIENT / BURST IMMUNITY TEST	34

10.1.	TEST SPECIFICATION	34

10.2.	DEVIATION FROM THE STANDARD	34

10.3.	TEST PROCEDURE	34

10.4.	TEST OBSERVATION	35

10.5.	TEST SETUP PICTURES	35

10.6.	TEST EQUIPMENT USED	36

10.7.	SOFTWARE USED	36

10.8.	RESULT	36

11.	SURGE IMMUNITY TEST	37

11.1.	TEST SPECIFICATION	37

11.2.	DEVIATION FROM THE STANDARD	37

11.3.	TEST PROCEDURE	37

11.4.	TEST OBSERVATION	38

11.5.	TEST SETUP PICTURES	39

11.6.	TEST EQUIPMENT USED	39

11.7.	SOFTWARE USED	39

11.8.	RESULT	39

12.	CONDUCTED RADIO FREQUENCY IMMUNITY TEST	40

12.1.	TEST SPECIFICATION	40

12.2.	DEVIATION FROM THE STANDARD	40

12.3.	TEST PROCEDURE	40

12.4.	TEST OBSERVATION	41

12.5.	TEST SETUP PICTURES	41

12.6.	TEST EQUIPMENT USED	42

12.7.	SOFTWARE USED	42

12.8.	RESULT	42

13.	POWER FREQUENCY MAGNETIC FIELD IMMUNITY TEST	43

13.1.	TEST SPECIFICATION	43

13.2.	DEVIATION FROM THE STANDARD	43

13.3.	TEST PROCEDURE	43

13.4.	TEST OBSERVATION	44

13.5.	TEST SETUP PICTURES	44

13.6.	TEST EQUIPMENT USED	44

13.7.	SOFTWARE USED	44

13.8.	RESULT	44

14.	VOLTAGE DIPS & INTERRUPTIONS IMMUNITY TEST	45

14.1.	TEST SPECIFICATION	45

14.2.	DEVIATION FROM THE STANDARD	45

14.3.	TEST PROCEDURE	45

14.4.	TEST OBSERVATION	46

14.5.	TEST SETUP PICTURES	46

14.6.	TEST EQUIPMENT USED	46

14.7.	SOFTWARE USED	46

14.8.	RESULT	46

LIST OF FIGURES

Figure 1: Block diagram of the EUT setup	13

Figure 2: CE plot_Line_Quasi-peak & Average_0.15MHz - 30MHz	16

Figure 3: CE plot_Neutral_Quasi-peak & Average_0.15MHz - 30MHz	16

Figure 4: RE plot_ Vertical_Peak_30MHz - 1GHz	20

Figure 5: RE plot_Horizontal_Peak_30MHz - 1GHz	20

Figure 6: RE plot_Vertical_Peak_1GHz - 6GHz	20

Figure 7: RE plot_Horizontal_Peak_1GHz - 6GHz	20

Figure 8: RE plot_Vertical_Average_1GHz - 6 GHz	20

Figure 9: RE plot_Horizontal_Average_1 GHz - 6 GHz	20

LIST OF PHOTOS

Photo 1: Equipment Under Test (EUT)	13

Photo 2: EUT model number and serial number	13

Photo 3: CE test setup_Power Port	16

Photo 4: RE test setup_Vertical_30MHz - 1GHz	20

Photo 5: RE test setup_Horizontal_30MHz - 1GHz	20

Photo 6: RE test setup_Vertical_1GHz - 6GHz	20

Photo 7: RE test setup_Horizontal_1GHz - 6GHz	20

Photo 8: Harmonic Current Emission test setup_Power Port	24

Photo 9: Voltage fluctuations & flicker emissions test setup_Power Port	27

Photo 10: ESD test setup - Indirect discharge (HCP)	30

Photo 11: ESD test setup - Indirect discharge (VCP)	30

Photo 12: ESD Contact discharge test points	30

Photo 13: ESD Air discharge test points	30

Photo 14: RS test setup_Vertical_80 MHz - 1GHz	32

Photo 15: RS test setup_Horizontal_80 MHz - 1GHz	32

Photo 16: RS test setup_Vertical_1 GHz - 6 GHz	32

Photo 17: RS test setup_Horizontal_1 GHz - 6 GHz	32

Photo 18: EFT test setup - Power Line	35

Photo 19: EFT test setup - Signal Line	35

Photo 20: Surge test setup - Power Line	39

Photo 21: Surge test setup - Signal Line	39

Photo 22: CRF test setup - Power Line	41

Photo 23: CRF test setup - Signal Line	41

Photo 24: PFMF test setup	44

Photo 25: Voltage Dips and short Interruptions test setup	46

LIST OF TABLES

Table 1: List of Accessories used for testing.	13

Table 2: List of cables connected to EUT.	13

Table 3: CE_Line_Quasi-peak & Average_0.15MHz - 30MHz	16

Table 4: CE_Neutral_Quasi-peak & Average_0.15MHz - 30MHz	16

Table 5: RE_Quasi-peak_30MHz - 1GHz	20

Table 6: RE_Peak_1GHz - 6GHz	20

Table 7: RE_Average_1GHz - 6GHz	20

Table 8: Harmonic current emission measurement	24

Table 9: Voltage fluctuations and flicker emission measurement	27

ABBREVIATIONS AND ACRONYMS

| AC | Alternating Current |
| --- | --- |
| AD | Air Discharge |
| CE | Conducted Emission |
| CD | Contact Discharge |
| CDN | Coupling Decoupling Network |
| CISPR | International Special Committee on Radio Interference |
| CM | Common Mode |
| CRF | Conducted Radio Frequency |
| DC | Direct Current |
| DM | Differential Mode |
| EFT | Electrical Fast Transient |
| EM | Electromagnetic |
| EMI | Electro Magnetic Interference |
| EMC | Electro Magnetic Compatibility |
| EN | European Norm |
| ESD | Electro Static Discharge |
| EUT | Equipment Under Test |
| FFT | Fast Fourier Transform |
| GND | Ground |
| GRP | Ground Reference Plane |
| HCP | Horizontal Coupling Plane |
| IEC | International Electrotechnical Commission |
| ISM | Industrial, Scientific and Medical |
| L | Line |
| LISN | Line Impedance Stabilization Network |
| N | Neutral |
| NA | Not Applicable |
| Neg | Negative |
| PE | Protective Earth |
| PFMF | Power Frequency Magnetic Field |
| Pos | Positive |
| RE | Radiated Emission |
| RF | Radio Frequency |
| SKU | Stock Keeping Unit |
| ULR | Unique Lab Report |
| VCP | Vertical Coupling Plane |
| <XYZ> | <Add if required (Based on the product requirement)> |

# TEST REPORT SUMMARY

## TEST METHOD

| Applicable Test | Frequency range/ Class/Test level | Applicable Port/Enclosure | Results |
| --- | --- | --- | --- |
| Conducted Emission | <Class A/B> 150kHz to 30MHz | Power Port | <FAIL>/ <PASS> |
| Radiated Emission Test | <Class A/B> 30MHz-1GHz/ 30MHz-6GHz | Enclosure |  |
| Harmonic Current Emission | <Class A/B> | Power Port |  |
| Voltage Changes, Voltage Fluctuations and Flicker Emission | NA | Power Port |  |
| Electrostatic Discharge Immunity | CD: <±4kV> AD: <±8kV | Enclosure |  |
| Radiated Susceptibility | 80MHz-6GHz:<3 V/m> <ISM Band: as per table 9> | Enclosure |  |
| Electrical Fast Transient/Burst Immunity | ±1 kV | Power Port |  |
| Surge Immunity | CM: <±1 kV> DM: <±0.5 kV> | Power Port |  |
| Conducted RF Immunity | 150kHz – 80MHz: <3Vrms> <ISM Band: as per table 8> | Power Port |  |
| Power Frequency Magnetic Field Immunity | <3 A/m> | Enclosure |  |
| Voltage Dips, Short Interruptions | 0%: 0.5 cycle 0%: 1 cycle 70%:25cycles 0%: 250 cycles | Power Port |  |

The test results presented in this report relate only to the object tested.

This report shall not be reproduced, except in full, without the written approval of the issuing Thermo Fisher Scientific Product Testing Laboratory. The authenticity of this Test Report and its contents can be verified by contacting Thermo Fisher Scientific Product Testing Laboratory.

Thermo Fisher Scientific Product Testing Laboratory is not responsible for the data or information provided by customers.

Thermo Fisher Scientific Product Testing Laboratory is not responsible for the sampling activity.

Information given on manufacturer/supplier/product configuration/performance criteria, given in this report, are based on the information given by the customer along with test request form. Thermo Fisher Scientific Product Testing Laboratory does not assume any responsibility for the correctness of such information for the above-mentioned equipment under test.

## APPLICABLE STANDARDS

| Product Standards |  | Basic Standards |  |
| --- | --- | --- | --- |
| IEC 61326-1:2020 | EN 61326-1 :2021 | EN 55011 :2016+A2:2021 | CISPR11 :2015+A1:2016+A2:2019 |
| IEC 60601-1-2 :2014+A1:2020 | EN 60601-1-2 :2015+A1:2021 | EN 61000-3-2 :2019+A1:2021 | IEC 61000-3-2 :2018+A1:2020 |
| Clause 15 of 47 CFR Part 15 Subpart B:2024 |  | EN 61000-3-3 :2013+A2:2021 | IEC 61000-3-3 :2013+A2:2021 |
| ICES-001: Issue 5, All clause except 3.3: 2020 |  | EN 61000-4-2 :2009 | IEC 61000-4-2:2008 |
|  |  | EN 61000-4-3 :2020 | IEC 61000-4-3:2020 |
|  |  | EN 61000-4-4 :2012 | IEC 61000-4-4:2012 |
|  |  | EN 61000-4-5 :2014+A1:2017 | IEC 61000-4-5 :2014+A1:2017 |
|  |  | EN 61000-4-6 :2023 | IEC 61000-4-6:2023 |
|  |  | EN 61000-4-8 :2010 | IEC 61000-4-8:2009 |
|  |  | EN 61000-4-11 :2020 | IEC 61000-4-11:2020 |

Note: Laboratory suggests use of latest version / edition of the standards. If withdrawn version / edition of the standards are used, it is based on customer requirement.

## ACCREDITATION DETAILS

Following is the accreditation and listing details for Thermo Fisher Scientific Product Testing Laboratory,

| Accreditation / Listing Body | Registration / Company / Certificate Number |
| --- | --- |
| NABL, India | Certificate Number: TC-14704 https://www.nabl-india.org/ |

## MEASUREMENT UNCERTAINITY

The following measurement uncertainties are applicable to the relevant tests that are mentioned below,

| Name of the Test | Measurement Uncertainty |
| --- | --- |
| Radiated Emission | ± 4.190 dB |
| Conducted Emission | ± 3.368 dB |
| Harmonic Current Emission | ± 5.807% |
| Voltage Fluctuation and Flicker Emission | ± 3.686% |

# EUT INFORMATION

Information provided in this section is received from customer.

## EUT DETAILS

| Manufacturer |  |
| --- | --- |
| EUT Name |  |
| EUT Model/SKU Number |  |
| EUT Serial Number |  |
| Number of Test Samples |  |
| Size of the EUT (L x W x H) |  |
| Weight of the EUT |  |
| EUT Category | ☐ Medical ☐ Laboratory |
| Type of Equipment | ☐ Tabletop ☐ Floor Standing ☐ Rack Mounted |
| EUT Operating Voltage |  |
| EUT Operating Frequency |  |
| EUT Power Rating |  |
| Measured EUT Current |  |

## DESCRIPTION OF EUT

<explanation of brief description of EUT and where it is used>

## SOFTWARE AND FIRMWARE DETAILS

<software or firmware details to be updated>

## EUT MODIFICATION RECORD

The table below details the modifications made to the EUT during the test program. The modifications incorporated during each test are recorded on the appropriate test pages.

| Modification state | Description of Modification still fitted to EUT | Modification fitted by | Date modification fitted |
| --- | --- | --- | --- |
| 0 | Initial state |  |  |

## EUT CONFIGURATION DURING TEST

<Explanation of configuration of EUT for testing>

## EUT SETUP DETAILS

Figure 1: Block diagram of the EUT setup

## EUT MODES OF OPERATION

<Mode A: Description of Mode A>

<Mode B: Description of Mode B>

## EUT MONITORING PARAMETERS

Give overview about the monitoring details

Monitoring of EUT using <xxxxx> <software version x.y>

< Screenshot of monitoring software >

## ACCESSORIES/INTERFACES AND CABLE DETAILS

| S. No. | Name of the Accessories | Make | Model No. | Serial No. |
| --- | --- | --- | --- | --- |

Table 1: List of Accessories used for testing.

| S. No. | Cable Name | Length(m) | Power/Signal | Shielded/Unshielded |
| --- | --- | --- | --- | --- |

Table 2: List of cables connected to EUT.

## EUT AND ACCESSORIES PICTURES

Photo 1: Equipment Under Test (EUT)

Photo 2: EUT model number and serial number

# IMMUNITY CRITERIA AND DECISION RULE

## PERFORMANCE CRITERIA

A: The equipment shall continue to operate as intended during and after the test. No degradation of performance of loss of function is allowed below a performance level specified in the user documentation, when the equipment is used as intended. In the case of applying immunity tests with continuous electromagnetic phenomena, the performance level may be replaced by a permissible loss of performance which shall recover, without user intervention. A permissible loss of performance is allowed within the performance level only when this information is clearly provided to the end user via documentation, such as the product user manual. No change in the operating state is allowed nor is loss of data.

B: The equipment shall continue to operate as intended after the test. No degradation of performance of loss of function is allowed below a performance level specified in the user documentation, when the equipment is used as intended. During the test, the equipment performance level may be replaced by a permissible loss of performance if such loss of performance is detailed in the EMC test plan. A permissible loss of performance is allowed within the performance level only when this information is clearly provided to the end user via documentation, such as the product user manual. An unintended change of the operating state is allowed if self-recoverable. No loss of stored data is allowed.

C: Loss of function is allowed, provided the function is self-recoverable or can be restored by the operation of the controls. Recovery procedure shall be included in the user documentation. No permanent damage to the equipment is allowed.

## DECISION RULE

☐  Standard: (Measured value or observation will be provided with the results).

☐  Standard inclusive of measurement uncertainty

☐  Customer specifications

☐  Customer specifications inclusive of measurement uncertainty

☐  Report on the measured results and the uncertainty

# CONDUCTED EMISSION TEST

## TEST SPECIFICATION

| Product Standard |  |  |
| --- | --- | --- |
| Basic Standard |  |  |
| Classification | ☐ Group 1; ☐ Group 2 | ☐ Class A; ☐ Class B |
| Test Port | Power Line |  |
| Coupling Method | ☐ LISN ☐ Custom |  |
| Frequency Range | ☐ 150 kHz- 30MHz |  |
| Resolution Bandwidth (Hz) |  |  |
| Step size (Hz) |  |  |
| Detector | Quasi-peak & Average |  |
| Measurement time (s) |  |  |
| Test Mode (Refer 2.7) |  |  |
| EUT Modification state (Refer 2.4) |  |  |
| EUT Configuration | ☐ Tabletop | ☐ Floor standing |
| EUT Input Voltage & Frequency |  |  |
| Ambient Temperature (°C) |  |  |
| Relative Humidity (%) |  |  |
| Test Date |  |  |
| Tested by |  |  |

## DEVIATION FROM THE STANDARD

NA

## TEST LIMITS

Maximum permissible level of Conducted Emissions at the mains ports is as mentioned below:

| Frequency (MHz) | Voltage Limits (dBµV) |  |
| --- | --- | --- |
|  | Quasi-Peak | Average |
| 0.15 to 0.50 |  |  |
| 0.50 to 30 |  |  |

## TEST PROCEDURE

The test procedure was in accordance with <Standard name>.

The EUT was placed on a wooden table/ insulation support at 0.8/0.1 m height. The EUT was tested at the conducted emissions test site with a horizontal ground reference plane and a vertical ground reference plane bonded together. The power supply to the EUT and auxiliary equipment was fed through LISN.

LISN (Voltage Method):

The conducted emission was measured through the 50 Ω RF port of the LISN using an EMI receiver was carried out in FFT mode and conducted emission from the EUT coupled through the Power (mains) port was plotted in the graph. The dominant peaks at various frequencies, closer to and/or above the limit line were identified and listed. Quasi-peak and Average measured frequencies are compared with the limit specified in the standard.

## MEASUREMENT DATA

< Plot Size should be 9cm X 16cm >

Figure 2: CE plot_Line_Quasi-peak & Average_0.15MHz - 30MHz

Table 3: CE_Line_Quasi-peak & Average_0.15MHz - 30MHz

Figure 3: CE plot_Neutral_Quasi-peak & Average_0.15MHz - 30MHz

Table 4: CE_Neutral_Quasi-peak & Average_0.15MHz - 30MHz

## TEST SETUP PICTURES

< Photo Size should be 9cm X 14cm >

Photo 3: CE test setup_Power Port

## TEST EQUIPMENT USED

| Equipment Name | Make | Model No. | Serial No. | Calibration Due |
| --- | --- | --- | --- | --- |

## SOFTWARE USED

| Test Name | Software Name | Software Version |
| --- | --- | --- |

## RESULT

Conducted Emissions from the EUT as per Class <A or B> limit: <PASS or FAIL>

# RADIATED EMISSION TEST

## TEST SPECIFICATION

| Product Standard |  |  |
| --- | --- | --- |
| Basic Standard |  |  |
| Classification | ☐ Group 1; ☐ Group 2 | ☐ Class A; ☐ Class B |
| Test Port | Enclosure |  |
| Frequency Range | ☐ 30MHz- 1GHz | ☐ 1GHz - 6GHz |
| Resolution Bandwidth (Hz) |  |  |
| Video bandwidth (Hz) |  |  |
| Step Size (Hz) |  |  |
| Turn table Rotation step (°) |  |  |
| Antenna Height Variation step for Pre-Scan measurement (m) |  |  |
| Antenna height variation for final measurement (m) |  |  |
| Pre-Scan Measurement time (ms) |  |  |
| Final Scan Measurement time (sec) |  |  |
| Attenuation (dB) |  |  |
| Test Distance (m) | 3 |  |
| Polarization | Horizontal and Vertical | Horizontal and Vertical |
| Detector | Peak and Quasi-peak | Peak and Average |
| Test Mode (Refer 2.7) |  |  |
| EUT Modification state (Refer 2.4) |  |  |
| EUT Configuration | ☐ Tabletop | ☐ Floor standing |
| EUT Input Voltage & Frequency |  |  |
| Ambient Temperature (°C) |  |  |
| Relative Humidity (%) |  |  |
| Test Date |  |  |
| Tested by |  |  |

## DEVIATION FROM THE STANDARD

NA

## TEST LIMITS

Maximum permissible level of Radiated Emissions at 3-meter distance is as mentioned below:

| Frequency (MHz) | Quasi-peak Limit (dBµV/m) |
| --- | --- |
| 30 to 230 |  |
| 230 to 1000 |  |

Maximum permissible level of Radiated Emissions at 3-meter distance as per is as mentioned below:

| Frequency (GHz) | Peak Limit (dBµV/m) | Average Limit (dBµV/m) |
| --- | --- | --- |
| 1 to 3 |  |  |
| 3 to 6 |  |  |

## TEST PROCEDURE

The test procedure was in accordance with <Standard name>.

For 30MHz to 1GHz, the EUT was tested in a Semi-Anechoic chamber, The EUT was placed on non-conductive table/ insulation support of 0.8/0.1m height which was in turn placed on a turn table to enable 0° to 360° rotation as per standard. The distance between the edge of the EUT and receiving antenna was 3m. The receiving antenna was mounted on antenna mast to enable height variation from 1m to 4m above the ground plane.

Pre-scan (Peak) was measured by varying the azimuth angle in 15°/22.5° steps and antenna height from 1m to 4m in 1m steps in both horizontal and vertical polarization of the antenna. The measurement was carried out in max-hold mode and maximum amplitude of radiated emissions from the EUT was plotted in the graph. The dominant peaks at various frequencies, closer to and above the limit line were identified using peak search option and listed Quasi-peak measurement was carried out for the listed frequencies to get the maximized readings by rotating the turntable from 0° to 360° degree and varying the antenna height from 1m to 4m. The maximized reading was compared with the limit specified in the standard.

<For 1GHz to 6GHz, the equipment was tested in a Semi-Anechoic chamber. The EUT was placed on non-conductive table of 0.8m height which was in turn placed on a turn table to enable 0° to 360° rotation as per standard. The distance between the edge of the EUT and receiving antenna was 3m. The receiving antenna was mounted on antenna mast to enable height variation from 1 to 2m above the ground plane.>

<Pre-scan (Peak & Average) was measured by varying the azimuth angle in 15°/22.5° steps and antenna height fixed at 1m, in both horizontal and vertical polarization of the antenna. The measurement was carried out in max-hold mode and maximum amplitude of radiated emissions from the EUT was plotted in the graph The dominant peaks at various frequencies, closer to and above the limit line were identified using peak search option and listed. Peak and Average measurement was carried out for the listed frequencies to get the maximized readings by rotating the turntable from 0° to 360° degree and varying the antenna height from 1m to 2m. The maximized reading was compared with the limit specified in the standard.>

## MEASUREMENT DATA

< Plot Size should be 9cm X 16cm >

Figure 4: RE plot_ Vertical_Peak_30MHz - 1GHz

Figure 5: RE plot_Horizontal_Peak_30MHz - 1GHz

Table 5: RE_Quasi-peak_30MHz - 1GHz

Figure 6: RE plot_Vertical_Peak_1GHz - 6GHz

Figure 7: RE plot_Horizontal_Peak_1GHz - 6GHz

Table 6: RE_Peak_1GHz - 6GHz

Figure 8: RE plot_Vertical_Average_1GHz - 6 GHz

Figure 9: RE plot_Horizontal_Average_1 GHz - 6 GHz

Table 7: RE_Average_1GHz - 6GHz

## TEST SETUP PICTURES

< Photo Size should be 9cm X 14cm >

Photo 4: RE test setup_Vertical_30MHz - 1GHz

Photo 5: RE test setup_Horizontal_30MHz - 1GHz

Photo 6: RE test setup_Vertical_1GHz - 6GHz

Photo 7: RE test setup_Horizontal_1GHz - 6GHz

## TEST EQUIPMENT USED

| Equipment Name | Make | Model No. | Serial No. | Calibration Due |
| --- | --- | --- | --- | --- |

## SOFTWARE USED

| Test Name | Software Name | Software Version |
| --- | --- | --- |

## RESULT

Radiated Emissions from the EUT as per Class <A or B> limit: <PASS or FAIL>.

# HARMONIC CURRENT EMISSION TEST

## TEST SPECIFICATION

| Product Standard |  |  |
| --- | --- | --- |
| Basic Standard |  |  |
| Classification | ☐ Class A ☐ Class B ☐ Class C ☐ Class D |  |
| Frequency Range | ☐ 50 Hz to 2 kHz |  |
| Maximum Harmonics | 40th Harmonics |  |
| Measurement Time | 10 minutes |  |
| Test Port |  |  |
| Test Mode (Refer 2.7) |  |  |
| EUT Modification state (Refer 2.4) |  |  |
| EUT Configuration | ☐ Tabletop | ☐ Floor standing |
| EUT Input Voltage & Frequency |  |  |
| Ambient Temperature (°C) |  |  |
| Relative Humidity (%) |  |  |
| Test Date |  |  |
| Tested by |  |  |

## DEVIATION FROM THE STANDARD

NA

## TEST LIMITS

Maximum permissible harmonic current emissions at the mains port is as mentioned below:

Odd Harmonic

| Harmonic Order (n) | Maximum permissible harmonic current (A) |
| --- | --- |
| 3 | 2.30 |
| 5 | 1.14 |
| 7 | 0.77 |
| 9 | 0.40 |
| 11 | 0.33 |
| 13 | 0.21 |
| 15 ≤ n ≤ 39 | 0.15 * (15/n) |

Even Harmonic

| Harmonic Order (n) | Maximum permissible harmonic current (A) |
| --- | --- |
| 2 | 1.08 |
| 4 | 0.43 |
| 6 | 0.30 |
| 8 ≤ n ≤ 40 | 0.23 * (8/n) |

## TEST PROCEDURE

The test procedure was in accordance with <Standard name>.

The EUT was placed on a wooden table/insulation support at 0.8/0.1m height. The power supply to the EUT was fed through a clean AC power source. The AC power source is in series with current transformer. The input voltage and frequency were set in the software as per the EUT specifications. The classification of the EUT and limits were selected as specified in the standard. The harmonic current emissions up to 40th harmonic was measured and compared with the limit specified in the standard.

## MEASUREMENT DATA

| Average Harmonic Current Results |  |  |  |
| --- | --- | --- | --- |
| Harmonics | Ieff (A) | % of limit | Limit (A) |
| 1 |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |
| 4 |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |
| 10 |  |  |  |
| 11 |  |  |  |
| 12 |  |  |  |
| 13 |  |  |  |
| 14 |  |  |  |
| 15 |  |  |  |
| 16 |  |  |  |
| 17 |  |  |  |
| Average Harmonic Current Results |  |  |  |
| Harmonics | Ieff (A) | % of limit | Limit (A) |
| 18 |  |  |  |
| 19 |  |  |  |
| 20 |  |  |  |
| 21 |  |  |  |
| 22 |  |  |  |
| 23 |  |  |  |
| 24 |  |  |  |
| 25 |  |  |  |
| 26 |  |  |  |
| 27 |  |  |  |
| 28 |  |  |  |
| 29 |  |  |  |
| 30 |  |  |  |
| 31 |  |  |  |
| 32 |  |  |  |
| 33 |  |  |  |
| 34 |  |  |  |
| 35 |  |  |  |
| 36 |  |  |  |
| 37 |  |  |  |
| 38 |  |  |  |
| 39 |  |  |  |
| 40 |  |  |  |

Table 8: Harmonic current emission measurement

## TEST SETUP PICTURES

< Photo Size should be 9cm X 14cm >

Photo 8: Harmonic Current Emission test setup_Power Port

## TEST EQUIPMENT USED

| Equipment Name | Make | Model No. | Serial No. | Calibration Due |
| --- | --- | --- | --- | --- |

## SOFTWARE USED

| Test Name | Software Name | Software Version |
| --- | --- | --- |

## RESULT

Harmonic Current Emissions from the EUT as per Class <A or B> limit: <PASS or FAIL>

# VOLTAGE FLUCTUATION AND FLICKER EMISSION TEST

## TEST SPECIFICATION

| Product Standard |  |  |
| --- | --- | --- |
| Basic Standard |  |  |
| Short Term Flicker Measurement Time (Pst) | 10 minutes |  |
| Long Term Flicker Measurement Time (Plt) | 120 minutes |  |
| Test Mode (Refer 2.7) |  |  |
| EUT Modification state (Refer 2.4) |  |  |
| EUT Configuration | ☐ Tabletop | ☐ Floor standing |
| EUT Input Voltage & Frequency |  |  |
| Ambient Temperature (°C) |  |  |
| Relative Humidity (%) |  |  |
| Test Date |  |  |
| Tested by |  |  |

## DEVIATION FROM THE STANDARD

NA

## TEST LIMITS

Maximum permissible voltage fluctuations and flicker emissions at the mains port is as mentioned below:

| Flicker Measurement | Limit |
| --- | --- |
| Pst |  |
| Plt |  |
| Tmax (s) |  |
| dmax (%) |  |
| dc (%) |  |

## TEST PROCEDURE

The test procedure was in accordance with <Standard name>.

The EUT was placed on a wooden table/insulation support of 0.8/0.1m height. The power supply to the EUT was fed through a clean AС source. The AC power source is in series with reference impedance network as specified in the standard. The software acquires data from the signal conditioning unit and the voltage fluctuations and flicker emissions has compared with the limit specified in the standard.

## MEASUREMENT DATA

| Flicker Measurement | Measured Value | Limit |
| --- | --- | --- |
| Pst |  |  |
| Plt |  |  |
| Tmax (s) |  |  |
| dmax (%) |  |  |
| dc (%) |  |  |

Table 9: Voltage fluctuations and flicker emission measurement

## TEST SETUP PICTURES

< Photo Size should be 9cm X 14cm >

Photo 9: Voltage fluctuations & flicker emissions test setup_Power Port

## TEST EQUIPMENT USED

| Equipment Name | Make | Model No. | Serial No. | Calibration Due |
| --- | --- | --- | --- | --- |

## SOFTWARE USED

| Test Name | Software Name | Software Version |
| --- | --- | --- |

## RESULT

Voltage fluctuations and flicker emissions from the EUT as per: <PASS or FAIL>

# ELECTROSTATIC DISCHARGE IMMUNITY TEST

## TEST SPECIFICATION

| Product Standard |  |  |
| --- | --- | --- |
| Basic Standard |  |  |
| Immunity test requirement | ☐ Basic ☐ Industrial ☐ Controlled ☐ Custom |  |
| Test Port | Enclosure |  |
| RC Network | 150pF, 330Ω |  |
| Direct Contact Discharge | ☐ ±2kV ☐ ±4kV ☐ ±8kV ☐ Custom |  |
| Indirect Contact Discharge - HCP - VCP | ☐ NA ☐ ±2kV ☐ ±4kV ☐ ±8kV ☐ Custom ☐ ±2kV ☐ ±4kV ☐ ±8kV ☐ Custom |  |
| Air discharge | ☐ ±2kV ☐ ±4kV ☐ ±8kV ☐ ±15kV ☐ Custom |  |
| Test Mode (Refer 2.7) |  |  |
| EUT Modification state (Refer 2.4) |  |  |
| EUT Configuration | ☐ Tabletop | ☐ Floor standing |
| EUT Input Voltage & Frequency |  |  |
| Ambient Temperature (°C) |  |  |
| Relative Humidity (%) |  |  |
| Atmospheric Air Pressure(mBar) |  |  |
| Test Date |  |  |
| Tested by |  |  |

## DEVIATION FROM THE STANDARD

NA

## TEST PROCEDURE

The test procedure was in accordance with <Standard name>.

The EUT was tested on a test bench/ insulation support which was placed on a GRP (Ground Reference Plane) on the floor. The surface of the table is metallic, providing the required Horizontal Coupling Plane (HCP). The EUT was placed on the HCP above a 0.5 mm insulating sheet. The HCP and the vertical coupling plane (VCP) were grounded to the GRP using two 470 kΩ resistors in series. The ESD generator return cable was bonded directly to the GRP.

The user accessible points were identified on the EUT and marked as ESD test points. The test was performed by setting a lower level initially and gradually increasing to the specified higher level. In contact discharge 10 positive and 10 negative discharges were applied on each metallic (conductive) test points. In air discharge, 10 positive and 10 negative discharges were applied on each non- metallic (non-conductive) test points.

Indirect discharge consisting of 10 positive and 10 negative discharges was applied on the VCP and HCP by rotating the EUT in 90-degree angle steps, exposing all faces of the EUT to the coupling planes. During the test, performance of EUT was monitored as per the criteria specified in standard.

## TEST OBSERVATION

Contact Discharge Indirect Method:

| S. No. | Name of test points | Test Level (kV) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | +2 | -2 | +4 | -4 | +8 | -8 |
| 1 | HCP (0°) |  |  |  |  |  |  |
| 2 | HCP (90°) |  |  |  |  |  |  |
| 3 | HCP (180°) |  |  |  |  |  |  |
| 4 | HCP (270°) |  |  |  |  |  |  |
| 5 | VCP (0°) |  |  |  |  |  |  |
| 6 | VCP (90°) |  |  |  |  |  |  |
| 7 | VCP (180°) |  |  |  |  |  |  |
| 8 | VCP (270°) |  |  |  |  |  |  |

Contact Discharge Direct Method:

| S. No. | Name of test points | Test Level (kV) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | +2 | -2 | +4 | -4 | +8 | -8 |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |

Air Discharge:

| S.No. | Name of test points | Test Level (kV) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | +2 | -2 | +4 | -4 | +8 | -8 |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |

A: No degradation was observed during the test based on the parameters monitored.

B: Write the observation in case of not meeting the required criteria. If needed use more criteria such as B1, B2, B3, …etc. The EUT recovered automatically without manual intervention.

C: Write the observation in case of not meeting the required criteria. If needed use more criteria such as C1, C2, C3, ...etc. The EUT recovered after manual intervention.

D: Write the observation in case of not meeting the required criteria. If needed use more criteria such as D1, D2, D3, ...etc. The EUT got damaged permanently.

## TEST SETUP PICTURES

Photo 10: ESD test setup - Indirect discharge (HCP)

Photo 11: ESD test setup - Indirect discharge (VCP)

< Photo Size should be 9cm X 14cm >

Photo 12: ESD Contact discharge test points

Photo 13: ESD Air discharge test points

## TEST EQUIPMENT USED

| Equipment Name | Make | Model No. | Serial No. | Calibration Due |
| --- | --- | --- | --- | --- |

## SOFTWARE USED

| Test Name | Software Name | Software Version |
| --- | --- | --- |

## RESULT

| Required Performance Criteria |  |
| --- | --- |
| Met Performance Criteria |  |

# RADIATED SUSCEPTIBILITY TEST

## TEST SPECIFICATION

| Product Standard |  |  |
| --- | --- | --- |
| Basic Standard |  |  |
| Immunity test requirement | ☐ Basic ☐ Industrial ☐ Controlled ☐ Custom |  |
| Test Port | Enclosure |  |
| Frequency Range | 80 MHz to 1GHz | 1GHz to 6GHz |
| Field Strength(V/m) | ☐ 3V/m ☐ 10V/m ☐ 30V/m ☐ Custom____ | ☐ 3V/m ☐ 10V/m ☐ 30V/m ☐ Custom____ |
| Frequency Step size | 1 % |  |
| Dwell Time | 3 seconds |  |
| Modulation | Amplitude Modulation |  |
| Modulation depth | 80% |  |
| Modulation depth and Frequency | 1kHz |  |
| Antenna Polarization | Horizontal and Vertical |  |
| Test Distance | ☐ 3m ☐ 1m |  |
| Test Mode (Refer 2.7) |  |  |
| EUT Modification state (Refer 2.4) |  |  |
| EUT Configuration | ☐ Tabletop | ☐ Floor standing |
| EUT Input Voltage & Frequency |  |  |
| Ambient Temperature (°C) |  |  |
| Relative Humidity (%) |  |  |
| Test Date |  |  |
| Tested by |  |  |

## DEVIATION FROM THE STANDARD

NA

## TEST PROCEDURE

The test procedure was in accordance with <Standard name>.

The EUT was tested in a Semi-Anechoic chamber. The EUT was placed on non-conductive table/ insulation support of 0.8/0.1m height which was in turn placed on turn table to enable 0° to 360° rotation at 90° step as per standard. RF absorbers were placed on the floor between the transmitting antenna and the EUT.

The distance between the edge of the EUT and receiving antenna was 3m. Pre-calibrated RF field strength level was transmitted using appropriate antenna in both horizontal and vertical polarization. The RF signal was amplitude modulated to 80% depth with 1 kHz sine wave as per standard. During the test, performance of the EUT was monitored as per the criteria specified in the standard.

## TEST OBSERVATION

| Frequency (MHz) | Test level (V/m) | Dwell time (s) | Horizontal Polarization |  |  |  | Vertical Polarization |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | 0° | 90° | 180° | 270° | 0° | 90° | 180° | 270° |
| 80 to 1000 |  |  |  |  |  |  |  |  |  |  |
| 1000 to 6000 |  |  |  |  |  |  |  |  |  |  |
| ISM Band(1) |  |  |  |  |  |  |  |  |  |  |

A: No degradation was observed during the test based on the parameters monitored.

B: Write the observation in case of not meeting the required criteria. If needed use more criteria such as B1, B2, B3, …etc. The EUT recovered automatically without manual intervention.

C: Write the observation in case of not meeting the required criteria. If needed use more criteria such as C1, C2, C3, ...etc. The EUT recovered after manual intervention.

D: Write the observation in case of not meeting the required criteria. If needed use more criteria such as D1, D2, D3, ...etc. The EUT got damaged permanently.

- ISM Band as per table 9 of IEC 60601-1-2:2014+AMD1:2020<Remove if not required>

## TEST SETUP PICTURES

<< Photo Size should be 9cm X 14cm >>

Photo 14: RS test setup_Vertical_80 MHz - 1GHz

Photo 15: RS test setup_Horizontal_80 MHz - 1GHz

Photo 16: RS test setup_Vertical_1 GHz - 6 GHz

Photo 17: RS test setup_Horizontal_1 GHz - 6 GHz

## TEST EQUIPMENT USED

| Equipment Name | Make | Model No. | Serial No. | Calibration Due |
| --- | --- | --- | --- | --- |

## SOFTWARE USED

| Test Name | Software Name | Software Version |
| --- | --- | --- |

## RESULT

| Required Performance Criteria |  |
| --- | --- |
| Met Performance Criteria |  |

# ELECTRICAL FAST TRANSIENT / BURST IMMUNITY TEST

## TEST SPECIFICATION

| Product Standard |  |  |
| --- | --- | --- |
| Basic Standard |  |  |
| Immunity test requirement | ☐ Basic ☐ Industrial ☐ Controlled ☐ Custom |  |
| Number of Test Ports | ☐ Power Line: | ☐ Signal: |
| Test Voltage | ☐ ±0.5 kV ☐ ±1 kV ☐ ±2 kV ☐ ±4 kV | ☐ ±0.25 kV ☐ ±0.5 kV ☐ ±1 kV ☐ ±2 kV |
| Pulse Rise time (ns) |  |  |
| Pulse Width(ns) |  |  |
| Burst Duration(ms) |  |  |
| Burst Period (ms) |  |  |
| Pulse Repetition frequency(kHz) | ☐ 5kHz ☐ 100 kHz |  |
| Test Duration(sec) |  |  |
| Test Mode (Refer 2.7) |  |  |
| EUT Modification state (Refer 2.4) |  |  |
| EUT Configuration | ☐ Tabletop | ☐ Floor standing |
| EUT Input Voltage & Frequency |  |  |
| Ambient Temperature (°C) |  |  |
| Relative Humidity (%) |  |  |
| Test Date |  |  |
| Tested by |  |  |

## DEVIATION FROM THE STANDARD

NA

## TEST PROCEDURE

The test procedure was in accordance with <Standard name>.

The EUT was tested at the EFT test site with a ground GRP. The EFT generator was bonded directly to GND. The EUT was placed above 0.1m insulation which is in turn placed on the GRP.

Power Line: The power supply to the EUT was fed through an inbuilt CDN of the EFT generator. EFT generator injects the transients through the CDN which was superimposed on to the power line of the EUT with reference to ground plane. During the test, performance of EUT was monitored as per the criteria specified in standard.

Signal Line: The signal cable between the EUT and auxiliary equipment was routed through the capacitive coupling clamp, and the transients were coupled from the EFT generator through a HV cable connected to capacitive clamp. EFT generator injects the transients through the capacitive coupling clamp which was superimposed on to the signal cables of the EUT with reference to ground plane. During the test, performance of EUT was monitored as per the criteria specified in standard.

## TEST OBSERVATION

Power Line:

| Coupling path / line | Test Level (kV) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | +0.5 | -0.5 | +1 | -1 | +2 | -2 | +4 | -4 |
| L1 |  |  |  |  |  |  |  |  |
| N |  |  |  |  |  |  |  |  |
| PE |  |  |  |  |  |  |  |  |
| L1+N |  |  |  |  |  |  |  |  |
| L1+PE |  |  |  |  |  |  |  |  |
| N+PE |  |  |  |  |  |  |  |  |
| L1+N+PE |  |  |  |  |  |  |  |  |

Signal Line:

| Signal Lines (e.g., RS 232, RJ45) | Test Level (kV) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | +0.25 | -0.25 | +0.5 | -0.5 | +1 | -1 | +2 | -2 |

A: No degradation was observed during the test based on the parameters monitored.

B: Write the observation in case of not meeting the required criteria. If needed use more criteria such as B1, B2, B3, …etc. The EUT recovered automatically without manual intervention.

C: Write the observation in case of not meeting the required criteria. If needed use more criteria such as C1, C2, C3, ...etc. The EUT recovered after manual intervention.

D: Write the observation in case of not meeting the required criteria. If needed use more criteria such as D1, D2, D3, ...etc. The EUT got damaged permanently.

## TEST SETUP PICTURES

< Photo Size should be 9cm X 14cm >

Photo 18: EFT test setup - Power Line

Photo 19: EFT test setup - Signal Line

## TEST EQUIPMENT USED

| Equipment Name | Make | Model No. | Serial No. | Calibration Due |
| --- | --- | --- | --- | --- |

## SOFTWARE USED

| Test Name | Software Name | Software Version |
| --- | --- | --- |

## RESULT

| Required Performance Criteria |  |
| --- | --- |
| Met Performance Criteria |  |

# SURGE IMMUNITY TEST

## TEST SPECIFICATION

| Product Standard |  |  |  |
| --- | --- | --- | --- |
| Basic Standard |  |  |  |
| Immunity test requirement |  | ☐ Basic ☐ Industrial ☐ Controlled ☐ Custom |  |
| Test Port |  | ☐ Power Line | ☐ Signal Line |
| Test Voltage(kV) | Common Mode (CM) | ☐ ±0.5 ☐ ± 1 ☐ ±2 ☐ ±4 | ☐ ±0.5 ☐ ± 1 ☐ ±2 ☐ Custom |
|  | Differential Mode (DM) | ☐ ±0.5 ☐ ± 1 ☐ ±2 ☐ ±4 | ☐ ±0.5 ☐ ± 1 ☐ ±2 ☐ Custom |
| Coupling Phases: |  | ☐ 0° ☐ 90° ☐ 180° ☐ 270° |  |
| Repetition Rate |  | ☐ 60 Sec ☐ Custom |  |
| Test Mode (Refer 2.7) |  |  |  |
| EUT Modification state (Refer 2.4) |  |  |  |
| EUT Configuration |  | ☐ Tabletop | ☐ Floor standing |
| EUT Input Voltage & Frequency |  |  |  |
| Ambient Temperature (°C) |  |  |  |
| Relative Humidity (%) |  |  |  |
| Test Date |  |  |  |
| Tested by |  |  |  |

## DEVIATION FROM THE STANDARD

NA

## TEST PROCEDURE

The test procedure was in accordance with <Standard name>.

The EUT was tested in the Surge test site with a GRP. The Suge generator was bonded directly on the GRP. The EUT was placed above 0.1m insulation which is in turn placed on the GRP. The minimum distance between any metallic part and the Surge Generator or the EUT was maintained as 0.5m. The length of the power cable between the EUT and the Surge generator (CDN) was maintained as less than 2m as per the standard.

Power Line:

The power supply to the EUT was fed through a CDN. The high energy surge was injected through the CDN and superimposed on the power line of the EUT in common mode (Line to Earth/PE) and differential mode (Line to Line). The surge pulse was injected five times with a minimum of 60 seconds interval between each pulse in positive and negative polarity. During the test, performance of EUT was monitored as per the criteria specified in standard.

Signal Line:

The signal lines to the EUT were fed through CDN, The. high energy surge was injected through the CDN and superimposed on the signal line of the EUT in common mode and differential mode. The surge pulse was injected five times with a minimum of 60 seconds interval between each pulse in positive and negative polarity. During the test, performance of EUT was monitored as per the criteria specified in standard.

## TEST OBSERVATION

AC Power Line:

| Test Level (kV) | Common Mode |  |  |  |  |  |  |  |  |  |  |  | Differential Mode |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | L→PE |  |  |  | N→PE |  |  |  | L+N→PE |  |  |  | L→N |  |  |  |
|  | 0° | 90° | 180° | 270° | 0° | 90° | 180° | 270° | 0° | 90° | 180° | 270° | 0° | 90° | 180° | 270° |
| +0.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -0.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| +1.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -1.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| +2.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -2.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| +4.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -4.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

DC Power Line:

| Test Level (kV) | Common Mode |  |  |  |  |  |  |  |  |  |  |  | Differential Mode |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | L(Pos)→PE |  |  |  | N(Neg)→PE |  |  |  | L(Pos)+N(Neg)→PE |  |  |  | L(Pos)→N(Neg) |  |  |  |
|  | 0° | 90° | 180° | 270° | 0° | 90° | 180° | 270° | 0° | 90° | 180° | 270° | 0° | 90° | 180° | 270° |
| +0.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -0.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| +1.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -1.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| +2.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -2.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| +4.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -4.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

Signal Line:

| Name of the signal Line | Test Level (kV) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | +0.25 |  | -0.25 |  | +0.5 |  | -0.5 |  | +1.0 |  | -1.0 |  | +2.0 |  | -2.0 |  |
|  | CM | DM | CM | DM | CM | DM | CM | DM | CM | DM | CM | DM | CM | DM | CM | DM |

A: No degradation was observed during the test based on the parameters monitored.

B: Write the observation in case of not meeting the required criteria. If needed use more criteria such as B1, B2, B3, …etc. The EUT recovered automatically without manual intervention.

C: Write the observation in case of not meeting the required criteria. If needed use more criteria such as C1, C2, C3, ...etc. The EUT recovered after manual intervention.

D: Write the observation in case of not meeting the required criteria. If needed use more criteria such as D1, D2, D3, ...etc. The EUT got damaged permanently.

## TEST SETUP PICTURES

< Photo Size should be 9cm X 14cm >

Photo 20: Surge test setup - Power Line

Photo 21: Surge test setup - Signal Line

## TEST EQUIPMENT USED

| Equipment Name | Make | Model No. | Serial No. | Calibration Due |
| --- | --- | --- | --- | --- |

## SOFTWARE USED

| Test Name | Software Name | Software Version |
| --- | --- | --- |

## RESULT

| Required Performance Criteria |  |
| --- | --- |
| Met Performance Criteria |  |

# CONDUCTED RADIO FREQUENCY IMMUNITY TEST

## TEST SPECIFICATION

| Product Standard |  |  |
| --- | --- | --- |
| Basic Standard |  |  |
| Immunity test requirement | ☐ Basic ☐ Industrial ☐ Controlled ☐ Custom |  |
| Test Port | ☐ Power Line | ☐ Signal Line |
| Coupling Method | ☐ CDN | ☐ EM Clamp |
| Test Level | ☐ 1 Vrms ☐ 3 Vrms ☐ 10 Vrms ☐ Custom___ | ☐ 1 Vrms ☐ 3 Vrms ☐ 10 Vrms ☐ Custom___ |
| Frequency Range | ☐ 150kHz-80MHz ☐ 150kHz-230MHz ☐ Custom___ |  |
| Frequency Step size | 1 % |  |
| Dwell Time | 3 seconds |  |
| Modulation | Amplitude Modulation |  |
| Modulation depth | 80% |  |
| Modulation Frequency | 1kHz |  |
| Test Mode (Refer 2.7) |  |  |
| EUT Modification state (Refer 2.4) |  |  |
| EUT Configuration | ☐ Tabletop | ☐ Floor standing |
| EUT Input Voltage & Frequency |  |  |
| Ambient Temperature (°C) |  |  |
| Relative Humidity (%) |  |  |
| Test Date |  |  |
| Tested by |  |  |

## DEVIATION FROM THE STANDARD

NA

## TEST PROCEDURE

The test procedure was in accordance with <Standard name>.

Power Line:

The EUT was tested in the CRF test site with a GRP. The EUT was placed on a 0.1 m insulation support on the GRP. The cables between the coupling and decoupling devices and the EUT was kept as short as possible, and it was neither bundled nor wrapped and the cable was kept 30mm above the reference ground plane. The power supply to the EUT was fed through a CDN which is bonded to the GRP. The RF power from the signal source was amplified and fed through the RF input port of the CDN and superimposed on the power lines of the EUT with reference to ground plane.

Signal Line:

The EUT was tested in the CRF test site with a ground reference plane. The EUT was placed on a 0.1 m insulation support on the GRP. The RF power from the signal source was amplified and fed through the RF port of the EM clamp and superimposed on the signal lines of the EUT with reference to ground plane.

The RF voltage was amplitude modulated to 80% depth with 1 kHz sine wave in the frequency range as per standard. During the test, performance of the EUT was monitored as per the criteria specified in standard.

## TEST OBSERVATION

Power Line:

| Frequency range (MHz) | Port Name | Test Level (Vrms) | Coupling method | Observation |
| --- | --- | --- | --- | --- |
| 0.15 to 80 |  |  |  |  |
| ISM Band (1) |  |  |  |  |

- ISM Band as per table 8 of IEC 60601-1-2:2014+AMD1:2020<Remove if not required>

Signal Line:

| Frequency range (MHz) | Port Name | Test Level (Vrms) | Coupling method | Observation |
| --- | --- | --- | --- | --- |
| 0.15 to 80 |  |  |  |  |

A: No degradation was observed during the test based on the parameters monitored.

B: Write the observation in case of not meeting the required criteria. If needed use more criteria such as B1, B2, B3, …etc. The EUT recovered automatically without manual intervention.

C: Write the observation in case of not meeting the required criteria. If needed use more criteria such as C1, C2, C3, ...etc. The EUT recovered after manual intervention.

D: Write the observation in case of not meeting the required criteria. If needed use more criteria such as D1, D2, D3, ...etc. The EUT got damaged permanently.

## TEST SETUP PICTURES

< Photo Size should be 9cm X 14cm >

Photo 22: CRF test setup - Power Line

Photo 23: CRF test setup - Signal Line

## TEST EQUIPMENT USED

| Equipment Name | Make | Model No. | Serial No. | Calibration Due |
| --- | --- | --- | --- | --- |

## SOFTWARE USED

| Test Name | Software Name | Software Version |
| --- | --- | --- |

## RESULT

| Required Performance Criteria |  |
| --- | --- |
| Met Performance Criteria |  |

# POWER FREQUENCY MAGNETIC FIELD IMMUNITY TEST

## TEST SPECIFICATION

| Product Standard |  |  |
| --- | --- | --- |
| Basic Standard |  |  |
| Immunity test requirement | ☐ Basic ☐ Industrial ☐ Controlled ☐ Custom |  |
| Test Port | Enclosure |  |
| Test Level | ☐ 1A/m ☐ 3A/m ☐ 30A/m ☐ Custom______ |  |
| Test Method | ☐ Proximity method | ☐ Immersion method |
| Coil Orientation | ☐ 0° ☐ 90° ☐ 180° ☐270° | ☐ X ☐ Y ☐ Z |
| Test Duration(sec) |  |  |
| Test Mode (Refer 2.7) |  |  |
| EUT Modification state (Refer 2.4) |  |  |
| EUT Configuration | ☐ Tabletop | ☐ Floor standing |
| EUT Input Voltage & Frequency |  |  |
| Ambient Temperature (°C) |  |  |
| Relative Humidity (%) |  |  |
| Test Date |  |  |
| Tested by |  |  |

## DEVIATION FROM THE STANDARD

NA

## TEST PROCEDURE

The test procedure was in accordance with <Standard name>.

The equipment was tested at the PFMF test site with a ground reference plane. The EUT was placed on a 0.5/0.1m wooden table/insulation support which was in turn placed on the GRP/Non-GRP. The test generator was bonded directly on to the GRP and connected to an Induction coil (1m x 1m) through a HV cable. The current and frequency of the source was set according to the requirement. The correction factor for the induction coil was compensated to achieve the required field strength. The AC current generated from the generator was given through the induction coil and power frequency magnetic field was generated through the coil. The test was repeated by changing the coil orientation in different axis/directions. During the test performance of the EUT was monitored as per the criteria specified in standard.

## TEST OBSERVATION

| Field Strength(A/m) | Power Frequency | Coil Orientation |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Proximity method |  |  |  | Immersion method |  |  |
|  |  | 0° | 90° | 180° | 270° | X | Y | Z |

A: No degradation was observed during the test based on the parameters monitored.

B: Write the observation in case of not meeting the required criteria. If needed use more criteria such as B1, B2, B3, …etc. The EUT recovered automatically without manual intervention.

C: Write the observation in case of not meeting the required criteria. If needed use more criteria such as C1, C2, C3, ...etc. The EUT recovered after manual intervention.

D: Write the observation in case of not meeting the required criteria. If needed use more criteria such as D1, D2, D3, ...etc. The EUT got damaged permanently.

## TEST SETUP PICTURES

< Photo Size should be 9cm X 14cm >

Photo 24: PFMF test setup

## TEST EQUIPMENT USED

| Equipment Name | Make | Model No. | Serial No. | Calibration Due |
| --- | --- | --- | --- | --- |

## SOFTWARE USED

| Test Name | Software Name | Software Version |
| --- | --- | --- |

## RESULT

| Required Performance Criteria |  |
| --- | --- |
| Met Performance Criteria |  |

# VOLTAGE DIPS & INTERRUPTIONS IMMUNITY TEST

## TEST SPECIFICATION

| Product Standard |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Basic Standard |  |  |  |  |  |
| Immunity test requirement | ☐ Basic ☐ Industrial ☐ Controlled ☐ Custom |  |  |  |  |
| Test Port | ☐ Power Line |  |  |  |  |
| Test Level | Voltage Dips |  |  |  | Interruption |
|  | 0 % | 0/40 % | 70% |  | 0 % |
|  | cycle | cycles | cycles |  | cycles |
| Number of Voltage Dips/Interruptions | ☐ 3 times ☐ Custom______ |  |  |  |  |
| Time between Dips/Interruptions | ☐ 60 sec ☐ Custom______ |  |  |  |  |
| Phase Angle | ☐ 0° & 180° ☐ 0° to 360° with 45° step |  |  |  |  |
| Test Mode (Refer 2.7) |  |  |  |  |  |
| EUT Modification state (Refer 2.4) |  |  |  |  |  |
| EUT Configuration | ☐ Tabletop |  |  | ☐ Floor standing |  |
| EUT Input Voltage & Frequency |  |  |  |  |  |
| Ambient Temperature (°C) |  |  |  |  |  |
| Relative Humidity (%) |  |  |  |  |  |
| Test Date |  |  |  |  |  |
| Tested by |  |  |  |  |  |

## DEVIATION FROM THE STANDARD

NA

## TEST PROCEDURE

The test procedure was in accordance with <Standard name>.

The EUT was placed on a 0.8/0.1m wooden table/insulation support. The power supply to the EUT was fed by a programmable AC power source. The EUT was subjected to voltage dips and short interruptions according to the specification in standard. Each test sequence with the below mentioned test level and duration was repeated 3 times with a minimum interval of 10 seconds. Voltage dips test was done by synchronizing the dips at 0° to 360° phase angles in 45° steps/ 0° & 180°.

During the test, performance of EUT was monitored as per the criteria specified in standard.

## TEST OBSERVATION

Voltage Dips:

| Test Level % Ut | Duration (cycles/periods) | Observation |
| --- | --- | --- |
| 0 |  |  |
| 0/40 |  |  |
| 70 |  |  |

Interruptions:

| Test Level % Ut | Duration (cycles/periods) | Observation |
| --- | --- | --- |
| 0 |  |  |

A: No degradation was observed during the test based on the parameters monitored.

B: Write the observation in case of not meeting the required criteria. If needed use more criteria such as B1, B2, B3, …etc. The EUT recovered automatically without manual intervention.

C: Write the observation in case of not meeting the required criteria. If needed use more criteria such as C1, C2, C3, ...etc. The EUT recovered after manual intervention.

D: Write the observation in case of not meeting the required criteria. If needed use more criteria such as D1, D2, D3, ...etc. The EUT got damaged permanently.

## TEST SETUP PICTURES

< Photo Size should be 9cm X 14cm >

Photo 25: Voltage Dips and short Interruptions test setup

## TEST EQUIPMENT USED

| Equipment Name | Make | Model No. | Serial No. | Calibration Due |
| --- | --- | --- | --- | --- |

## SOFTWARE USED

| Test Name | Software Name | Software Version |
| --- | --- | --- |

## RESULT

| Required Performance Criteria | Voltage Dips |  |  | Interruption |
| --- | --- | --- | --- | --- |
|  | 0 % | 0/40 % | 70% | 0 % |
| Met Performance Criteria |  |  |  |  |

------ END OF TEST REPORT------