- TEST SPECIFICATION

| Job Number |  | TFS-EMC-2026-017 |  |
| --- | --- | --- | --- |
| EUT Name |  | Testing |  |
| EUT Model/SKU Number |  | RE TEST |  |
| EUT Serial Number |  | 234897 |  |
| Basic Standard |  |  |  |
| Product Standard |  | IEC 61326-1 : 2020 |  |
| Immunity test requirement |  |  |  |
| Test Port |  |  |  |
| Test Voltage(kV) | Common Mode (CM) |  |  |
|  | Differential Mode (DM) |  |  |
| Coupling Phases: |  |  |  |
| Repetition Rate |  | 60 Sec |  |
| Test Mode |  |  |  |
| EUT Configuration |  |  |  |
| EUT Input Voltage & Frequency |  |  |  |
| Ambient Temperature (°C) |  |  |  |
| Relative Humidity (%) |  |  |  |
| Test Date |  | 2026-04-08 |  |
| Tested by |  | Mkrishna |  |

- EQUIPMENTS USED

| S. No | Equipment Name | Make | Model No. | Serial No. | Cal Due Date |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |

- EUT MODIFICATION RECORD

The table below details the modifications made to the EUT during the test program.

| Modification state | Description of Modification still fitted to EUT | Modification fitted by | Date modification fitted |
| --- | --- | --- | --- |
| 0 | Initial state |  |  |

- FUNCTIONAL CHECK:

Functional check is conducted as per SOP reference number: IEC-SOP-505.

- MONITORING PARAMETERS:

testing for re,ce

- TEST OBSERVATION

  - AC POWER LINE:

| Test Level (kV) | Common Mode |  |  |  |  |  |  |  |  |  |  |  | Differential Mode |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | L1→PE |  |  |  | N→PE |  |  |  | L1+N→PE |  |  |  | L1→N |  |  |  |
|  | 0° | 90° | 180° | 270° | 0° | 90° | 180° | 270° | 0° | 90° | 180° | 270° | 0° | 90° | 180° | 270° |
| +0.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -0.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| +1.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -1.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| +2.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -2.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| +4.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -4.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

  - DC POWER LINE:

| Test Level (kV) | Common Mode |  |  |  |  |  |  |  |  |  |  |  | Differential Mode |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | L1(Pos)→PE |  |  |  | N(Neg)→PE |  |  |  | L1(Pos)+N(Neg)→PE |  |  |  | L1(Pos)→N(Neg) |  |  |  |
|  | 0° | 90° | 180° | 270° | 0° | 90° | 180° | 270° | 0° | 90° | 180° | 270° | 0° | 90° | 180° | 270° |
| +0.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -0.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| +1.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -1.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| +2.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -2.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| +4.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| -4.0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

  - SIGNAL LINE:

| Name of the signal Line | Test Level (kV) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | +0.25 |  | -0.25 |  | +0.5 |  | -0.5 |  | +1.0 |  | -1.0 |  | +2.0 |  | -2.0 |  |
|  | CM | DM | CM | DM | CM | DM | CM | DM | CM | DM | CM | DM | CM | DM | CM | DM |

*CM → Common Mode & DM → Differential Mode.

NOTE 1:

A: No degradation was observed during the test based on the parameters monitored.

B: Write the observation in case of not meeting the required criteria. If needed use more criteria such as B1, B2, B3, …etc. The EUT recovered automatically without manual intervention.

C: Write the observation in case of not meeting the required criteria. If needed use more criteria such as C1, C2, C3, ...etc. The EUT recovered after manual intervention.

D: Write the observation in case of not meeting the required criteria. If needed use more criteria such as D1, D2, D3, ...etc. The EUT got damaged permanently.

- TEST SETUP PICTURES

Figure 1: Photograph of Surge test setup on Power Line

Figure 2: Photograph of Surge test setup on Signal Line

- REFERENCE FOLDER:

- SOFTWARE DETAILS:

| Software Used | Software Version |
| --- | --- |

- RESULT:

| Required performance Criteria |  |
| --- | --- |
| Met performance Criteria |  |

| Tested By |  |
| --- | --- |
| Name | Mkrishna |
| Signature | Generated electronically |
| Date | 2026-04-08 |