# Test Overview

| Job Number |  |  |
| --- | --- | --- |
| Name of Equipment Under Test (EUT) |  |  |
| Make |  |  |
| Model Number/SKU Number |  |  |
| Serial Number |  |  |
| Quantity |  |  |
| Test Sample Received Date | <Click or tap to enter a date.> |  |
| Type of Service | ☐ DA ☐ Pre-Compliance ☐ Compliance |  |
| Resource Availability to meet the test requirements | ☐ YES | ☐ NO |
| External Subcontract Service Required | ☐ YES | ☐ NO |
| Environmental Conditions | Temperature | °C |
|  | Relative Humidity | % |
|  | Pressure | mbar |
| Externally Provided Services (outside Thermo Fisher Scientific): |  |  |

# Equipment used for Testing:

| Name of Equipment | Make | Model No. | Serial No. | Calibration Due Date |
| --- | --- | --- | --- | --- |

# Product Standard:

# Test Details:

| Sl. No | Test Name | Basic Standard | Test Frequency Range | EUT i/p voltage/ frequency | Test Level/ Voltage (Class/Group) | SOP Reference Number |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Conducted Emission Power Line | CISPR 11 |  |  |  | IEC-SOP-501 |
| 2 | Radiated Emission | CISPR 11 |  |  |  | IEC-SOP-507 |
| 3 | Harmonic Current Emission | IEC 61000-3-2 |  |  |  | IEC-SOP-509 |
| 4 | Voltage Changes, Voltage Fluctuations and Flicker Emission | IEC 61000-3-3 |  |  |  | IEC-SOP-510 |
| 5 | Electrostatic Discharge Immunity | IEC 61000-4-2 |  |  |  | IEC-SOP-503 |
| 6 | Radiated Susceptibility/Immunity | IEC 61000-4-3 |  |  |  | IEC-SOP-508 |
| 7 | Radiated Susceptibility/Immunity (Interim Method) | IEC 61000-4-3 |  |  |  | IEC-SOP-508 |
| 8 | Electrical fast transient/burst Immunity Power Line | IEC 61000-4-4 |  |  |  | IEC-SOP-504 |
| 9 | Electrical fast transient/burst Immunity Signal Line | IEC 61000-4-4 |  |  |  | IEC-SOP-504 |
| 10 | Surge Immunity Power Line | IEC 61000-4-5 |  |  |  | IEC-SOP-505 |
| 11 | Surge Immunity Signal Line | IEC 61000-4-5 |  |  |  | IEC-SOP-505 |
| 12 | Conducted RF Disturbance Immunity Power Line | IEC 61000-4-6 |  |  |  | IEC-SOP-506 |
| 13 | Conducted RF Disturbance Immunity Signal Line | IEC 61000-4-6 |  |  |  | IEC-SOP-506 |
| 14 | Power Frequency Magnetic Field Immunity | IEC 61000-4-8 |  |  |  | IEC-SOP-511 |
| 15 | Voltage Dips, Short Interruptions and Voltage Variations Immunity | IEC 61000-4-11 |  |  |  | IEC-SOP-502 |
| <<Add or edit the above list of standards based on the test request>> |  |  |  |  |  |  |

# Test Schedule:

| Test Duration (Approximate in days) |  |
| --- | --- |
| Test Commencement Date (Approximate) | <Click or tap to enter a date.> |
| Test Completion Date (Approximate) | <Click or tap to enter a date.> |

| Prepared by |  | Approved by |  |
| --- | --- | --- | --- |
| Name of the Test Engineer |  | Name of the Technical Lead/Manager |  |
| Date | <Click or tap to enter a date.> | Date | <Click or tap to enter a date.> |
| Signature |  | Signature |  |