Part 1 - To be filled by Requester:

Type of Service Requested: (Please choose applicable)

| ☐ Developmental Assistance (DA) | ☐ Pre-Compliance | ☐ Compliance |
| --- | --- | --- |

| Product Identity |  |
| --- | --- |
| Name of the Product |  |
| Manufacturer Name |  |
| Manufacturer Address |  |
| Model Number / SKU Number |  |
| No. Test Samples |  |
| Are samples available in Lab? | ☐ Yes ☐ No |
| Serial Number (s) |  |
| Additional Model Number / SKU Number for Sample 2 |  |
| Serial Number for Sample 2 |  |
| Group |  |
| Division (BU) |  |
| Site |  |
| Model Variance? | ☐ Yes ☐ No |
| Model Variants |  |
| Project details/Intent |  |

| Product Details |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Size(mm) | Length |  |  | Width |  |  | Height |  |
| Weight(kg) |  |  |  |  |  |  |  |  |
| Internal Operating Frequency (MHz) |  |  |  |  |  |  |  |  |
| Category | ☐ Medical ☐ Laboratory ☐ Custom: |  |  |  |  |  |  |  |
| Type | ☐ Floor Standing |  | ☐ Tabletop |  |  | ☐ others: |  |  |

| Accessories Details |  |  |  |  |
| --- | --- | --- | --- | --- |
| Equipment Name | Make | Model No. | Serial No. | Function/Purpose |

| Cable Details (Power/Signal) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Cable Name | Length(m) | Power/Signal | Shielded/Unshielded | Function/Purpose |

| EUT Specifications |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AC i/p Voltage Range (V) | AC Freq Range (Hz) | AC Input current (A) | DC i/p Voltage Range (V) | DC Input current (A) | Rated Power (W/kVA) |

| Supply Voltage/Frequency for testing |  |  |
| --- | --- | --- |
| Supply Voltage (V) | Supply Frequency (Hz) | Specify if any test is to be conducted in a different voltage and frequency AC Input current (A) |

| Wireless Interface/Clocks |  |  |  |  |
| --- | --- | --- | --- | --- |
| Does the model have wireless interfaces or clocks? | ☐ Yes ☐ No |  |  |  |
| Type of Interface (BT/Wi-Fi etc.) | Carrier Frequency (MHz) | Max Output Power (dBm) | Clock frequencies or any other intentional frequencies inside EUT | Function/Purpose |

Block Diagram Of The Test Setup

Product Description/Configuration

Brief Description about the EUT/its application/environment where it is used:

Explain how the EUT configure during the test

TESTS REQUIRED:

| Product Standard | ☐ IEC 61326-1:2020 ☐ EN 61326-1:2021 ☐ IEC 60601-1-2: 2014+A1:2020 ☐ EN 60601-1-2: 2015+A1:2021 ☐ FCC Subpart 15B: 2024 ☐ ICES-001 Issue 5: 2020 ☐ Other: |  |
| --- | --- | --- |
| Product Environment for Immunity Tests |  |  |
| Non-Medical Environment | ☐ Basic Electromagnetic ☐ Industrial ☐ Controlled ☐ NA |  |
| Medical Environment | ☐ Home Healthcare ☐ Professional Healthcare |  |
| Group | ☐ Group 1 | ☐ Group 2 |
| Class | ☐ Class A | ☐ Class B |

| ☐ Conducted Emission (CE) | CE Frequency Rage | ☐ As per the standard ☐ Custom Specification Frequency Range: |
| --- | --- | --- |
|  | Hours |  |
|  | Remarks for lab engineer (Optional) |  |
| ☐ Radiated Emission (RE) | RE Frequency Rage | ☐ As per the standard ☐ Custom Specification Frequency Range: |
|  | Hours |  |
|  | Remarks for lab engineer (Optional) |  |
| ☐ Harmonic Current Emission | Equipment Class | ☐ Class A ☐ Class B ☐ Class C ☐ Class D |
|  | Hours |  |
|  | Remarks for lab engineer (Optional) |  |
| ☐ Voltage Changes, Voltage Fluctuations and Flicker Emission | Specification | ☐ As per the standard ☐ Custom Specification |
|  | Hours |  |
|  | Remarks for lab engineer (Optional) |  |
| ☐ Electrostatic Discharge Immunity | Test levels | ☐ As per the standard ☐ Custom Specification Select ESD custom test ☐ Contact Discharge: kV ☐ Air Discharge: kV ☐ Indirect Discharge: kV |
|  | Hours |  |
|  | Remarks for lab engineer (Optional) |  |
| ☐ Radiated Susceptibility/Immunity | RS Frequency Range | ☐ As per the standard ☐ Custom Specification Frequency Range: |
|  | RS Test Level/Field Strength | ☐ As per the standard ☐ Custom Specification Custom field strength (V/m): |
|  | Hours |  |
|  | Remarks for lab engineer (Optional) |  |
| ☐ Radiated Susceptibility/Immunity (Interim Method) | RS Frequency Range | ☐ As per the standard ☐ Custom Specification Frequency Range: |
|  | RS Test Level/Field Strength | ☐ As per the standard ☐ Custom Specification Custom field strength (V/m): |
|  | Hours |  |
|  | Remarks for lab engineer (Optional) |  |
| ☐ Electrical fast transient/burst Immunity | Test Level/Voltage | ☐ As per the standard ☐ Custom Specification Custom voltage (kV): |
|  | No. of Cables for test | ☐ Power lines: ☐ Signal lines: |
|  | Signal Line Types | Signal Line 1: Signal Line 2: |
|  | Hours |  |
|  | Remarks for lab engineer (Optional) |  |
| ☐ Surge Immunity | Test Level/Voltage | ☐ As per the standard ☐ Custom Specification ☐ Common Mode: kV ☐ Differential Mode: kV |
|  | No. of Cables for test | ☐ Power lines: ☐ Signal lines: |
|  | Signal Line Types | Signal Line 1: Signal Line 2: |
|  | Hours |  |
|  | Remarks for lab engineer (Optional) |  |
| ☐ Conducted RF Disturbance Immunity | Test Level/Field Strength | ☐ As per the standard ☐ Custom Specification Custom field strength (Vrms): |
|  | No. of Cables for test | ☐ Power lines: ☐ Signal lines: |
|  | Signal Line Types | Signal Line 1: Signal Line 2: |
|  | Frequency Range | ☐ As per the standard ☐ Custom Specification Frequency Range: |
|  | Hours |  |
|  | Remarks for lab engineer (Optional) |  |
| ☐ Power Frequency Magnetic Field Immunity | Test Level/Field Strength | ☐ As per the standard ☐ Custom Specification Custom field strength (A/m): |
|  | Hours |  |
|  | Remarks for lab engineer (Optional) |  |
| ☐ Voltage Dips, Short Interruptions and Voltage Variations Immunity | Voltage Dip | ☐ As per the standard ☐ Custom Specification Custom Level: |
|  | Voltage Variations | ☐ As per the standard ☐ Custom Specification Custom Level: |
|  | Short Interruption | ☐ As per the standard ☐ Custom Specification Custom Level: |
|  | Hours |  |
|  | Remarks for lab engineer (Optional) |  |

Test Procedures and Conformity

Test procedures and conformity statement requirements

| Continue testing in case of any test failure | ☐ YES |  | ☐ NO |
| --- | --- | --- | --- |
| Is Test Report Required | ☐ YES |  | ☐ NO |
| Uncertainty required | ☐ YES |  | ☐ NO |
| Test Witness | ☐ YES |  | ☐ NO |
| Is Statement of conformity required | ☐ YES | The decision rule followed by TFS Product Testing Lab will be any one of the defined below, ☐ As prescribed by the standard (Measured value or observation will be provided with the results) ☐ As prescribed by the standard inclusive of measurement uncertainty. ☐ As per customer specifications ☐ As per customer specification inclusive of measurement uncertainty. |  |
|  | ☐ NO | We will Report the measured results and the uncertainty. |  |
| Note: In case of Quantitative analysis, lab will preferably consider the uncertainty of measurement for decision rules, until not prescribed by customer. |  |  |  |

Functional Modes

| Number of functional models |  |
| --- | --- |
| Mode A: Mode B: |  |
| Parameters to be monitored during immunity tests |  |
| Any other additional information about Power Adaptors any Hardware/Software/Firmware details? |  |

| Name of Requester |  | Department (Manager) |  |
| --- | --- | --- | --- |
| E-mail |  | Contact Number |  |
| Date |  | Signature |  |

For Laboratory Use Only

| Job Number |  |  |
| --- | --- | --- |
| Condition of samples on receipt | ☐ Good ☐ Bad, inform customer to act. |  |
| Capability and resources are available to meet the test requirements | ☐ YES ☐ NO |  |
| Sample Received Date |  |  |
| Test Schedule |  |  |
| Test Duration (Approximate in days) |  |  |
| Test Commencement Date (Approximate) |  |  |
| Test Completion Date (Approximate) |  |  |

| Lab Manager Name |  | Date |  |
| --- | --- | --- | --- |
| Lab Manager Signature |  |  |  |